## Photometric Key
ENGINEERED LIGHTING PRODUCTS | [6 empty] | October 2016
10768 Lower Azusa Road |  |  |  | 626-579-0943
El Monte, CA 91731 |  |  |  | www.elplighting.com |  |  | IES Photometric File Key
FLUORESCENT & OTHER LEGACY FIXTURES
Series | IES File / Catalog # | Oriented | Test # | Reflector | Type of Fixture | Lamp | LAMP Lumens
A6 | 1150MHWWA6 | A | 8994E1 | Semi-Specular | Yoke Mt Wall Wash | 150 Metal Halide | 14000
A6 | 139MHWWA6ST | A | 2035F | Stepped Diffuse | Yoke Mt Wall Wash | 35w Metal Halide | 3300
A6 | 150BXWWA6 | A | 8994E2 | Semi-Specular | Yoke Mt Wall Wash | 50w Biax | 4300
A6 | 170MHWWA6 | A | 8994E | Semi-Specular | Yoke Mt Wall Wash | 70w Metal Halide | 6200
A6 | 170MHWWA6ST | A | 8994F | Stepped Diffuse | Yoke Mt Wall Wash | 70w Metal Halide | 6200
A9 | 132T8WWA9 | A | 2035C3 | Semi-Specular (95) | Surface Mt Wall Wash | 32w T-8 | 2950
A9 | 139BXWWA9 | A | 2035C4 | Semi-Specular (95) | Surface Mt Wall Wash | 39w Biax | 2900
A9 | 154T5WWA9 | A | 2035C2 | Semi-Specular (95) | Surface Mt Wall Wash | 54w T-5 HO | 5000
A9 | 155BXWWA9 | A | 2035C1 | Semi-Specular (95) | Surface Mt Wall Wash | 55w Biax | 4800
A9 | 255BXWWA9 | A | 2035C | Semi-Specular (95) | Surface Mt Wall Wash | (2) 55w Biax | 4800 ea
A9 | 117T8WWA9I | D | 7994B95 | Semi-Specular (95) | Pendant Mt Indirect | 17w T-8 | 1400
A9 | 132T8WWA9I | D | 7994B195 | Semi-Specular (95) | Pendant Mt Indirect | 32w T-8 | 2950
A9 | 132T8WWA9WIW | D | 8994D1 | Semi-Specular/White | Pendant Mt Indirect | 32w T-8 | 2950
A9 | 140BXWWA9I | D | 7994B295 | Semi-Specular (95) | Pendant Mt Indirect | 40w Biax | 3150
A9 | 140BXWWA9WIW | D | 8994D | Semi-Specular/White | Pendant Mt Indirect | 40w Biax | 3150
A9 | 240BXWWA9WIW | D | 8994D3 | Semi-Specular/White | Pendant Mt Indirect | (2) 40w Biax | 3150 ea
A15 | 1400MHWWA15 | C | 1028A | Semi-Specular (95) | Yoke Mt Indirect | 400w MH ED28 | 32000
AK | 113PLWWAK | A | 4009A7 | Semi-Specular (95) | Ceiling Mt Wall Wash | 13w PL | 900
AK | 114T5WWAK | A | 4009A13 | Semi-Specular (95) | Ceiling Mt Wall Wash | 14w T-5 | 1350
AK | 117T8WWAK | A | 4009A19 | Semi-Specular (95) | Ceiling Mt Wall Wash | 17w T-8 | 1400
AK | 118BXWWAK | A | 4009A8 | Semi-Specular (95) | Ceiling Mt Wall Wash | 18w Biax | 1250
AK | 124T5WWAK | A | 4009A14 | Semi-Specular (95) | Ceiling Mt Wall Wash | 24w T-5 HO | 2000
AK | 125T8WWAK | A | 4009A9 | Semi-Specular (95) | Ceiling Mt Wall Wash | 25w T-8 | 2250
AK | 126QDWWAK | A | 1999B95 | Semi-Specular (95) | Ceiling Mt Wall Wash | 26w Quad | 1800
AK | 126TTWWAK | A | 1999E95 | Semi-Specular (95) | Ceiling Mt Wall Wash | 26w Triple Tube | 1800
AK | 132TTWWAK | A | 1999E395 | Semi-Specular (95) | Ceiling Mt Wall Wash | 32w Triple Tube | 2400
AK | 132T8WWAK | A | 4009A3 | Semi-Specular (95) | Ceiling Mt Wall Wash | 32w T-8 | 2900
AK | 132T8WWAKLV | A | 4951K395 | Semi-Spec(95) w/Lvr | Ceiling Mt w/Louver | 32w T-8 | 2950
AK | 139BXWWAK | A | 4009A10 | Semi-Specular (95) | Ceiling Mt Wall Wash | 39w Biax | 2900
AK | 139T5WWAK | A | 4009A15 | Semi-Specular (95) | Ceiling Mt Wall Wash | 39w T-5 HO | 3500
AK | 140BXWWAK | A | 4009A1 | Semi-Specular (95) | Ceiling Mt Wall Wash | 40w Biax | 3150
AK | 140BXWWAKLV | A | 4951K295 | Semi-Spec(95) w/Lvr | Ceiling Mt w/Louver | 40w Biax | 3150
AK | 140BXWWAKSP | A | 4951U1 | Specular | Ceiling Mt Wall Wash | 40w Biax | 3150
AK | 142TTWWAK | A | 1999E195 | Semi-Specular (95) | Ceiling Mt Wall Wash | 42w Triple Tube | 3200
AK | 150BXWWAK | A | 4009A11 | Semi-Specular (95) | Ceiling Mt Wall Wash | 50w Biax | 4300
AK | 154T5WWAK | A | 4009A2 | Semi-Specular (95) | Ceiling Mt Wall Wash | 54w T-5 HO | 5000
AK | 155BXWWAK | A | 4009A18 | Semi-Specular (95) | Ceiling Mt Wall Wash | 55w Biax | 4800
AK | 214T5WWAK | A | 4009A12 | Semi-Specular (95) | Ceiling Mt Wall Wash | (2) 14w T-5 | 1350 ea
AK | 224T5WWAK | A | 4009A5 | Semi-Specular (95) | Ceiling Mt Wall Wash | (2) 24w T-5 HO | 2000 ea
AK | 240BXWWAKLV | A | 4951K195 | Semi-Spec(95) w/Lvr | Ceiling Mt w/Louver | (2) 40w Biax | 3150 ea
AK | 240BXWWAKSP | A | 4951U | Specular | Ceiling Mt Wall Wash | (2) 40w Biax | 3150 ea
AK | 240BXWWAK | A | 4009A | Semi-Specular (95) | Ceiling Mt Wall Wash | (2) 40w Biax | 3150 ea
AK | 242TTWWAK | A | 1999E295 | Semi-Specular (95) | Ceiling Mt Wall Wash | (2) 42w Triple Tube | 3200 ea
AK | 250BXWWAK | A | 4009A17 | Semi-Specular (95) | Ceiling Mt Wall Wash | (2) 50w Biax | 4300 ea
AK | 254T5WWAK | A | 4009A16 | Semi-Specular (95) | Ceiling Mt Wall Wash | (2) 54w T-5 HO | 5000 ea
AK | 255BXWWAK | A | 4009A20 | Semi-Specular (95) | Ceiling Mt Wall Wash | (2) 55w Biax | 4800 ea
AK | 113PLWWAK_IND | C | 120506A1 | Semi-Specular (95) | Wall Mt Indirect | 13w PL | 900
AK | 117T8WWAK_IND | C | 120506A2 | Semi-Specular (95) | Wall Mt Indirect | 17w T-8 | 1400
AK | 126QDWWAK_IND | C | 1999BI95 | Semi-Specular (95) | Wall Mt Indirect | 26w Quad | 1800
AK | 132T8WWAK_IND | C | 120506A3 | Semi-Specular (95) | Wall Mt Indirect | 32w T-8 | 2900
AK | 139BXWWAK_IND | C | 120506A4 | Semi-Specular (95) | Wall Mt Indirect | 39w Biax | 2900
AK | 140BXWWAK_IND | C | 120506A5 | Semi-Specular (95) | Wall Mt Indirect | 40w Biax | 3150
AK | 140BXWWAK_GW_IND | C | 4951H1 | Gloss White Reflector | Indirect | 40w Biax | 3150
AK | 240BXWWAK_IND | C | 120506A | Semi-Specular (95) | Wall Mt Indirect | (2) 40w Biax | 3150 ea
AK | 240BXWWAK_GW_IND | C | 4951H | Gloss White Reflector | Indirect w/White Reflector | (2) 40w Biax | 3150 ea
AK | 240BXWWAK_LV_IND | C | 4951K95 | Semi-Spec (95) w/Lvr | Wall Mt w/Louver | (2) 40w Biax | 3150 ea
FLUORESCENT & OTHER LEGACY FIXTURES
Series | IES File / Catalog # | Oriented | Test # | Reflector | Type of Fixture | Lamp | LAMP Lumens
AK | 254T5WWAK_IND | C | 120506A6 | Semi-Specular (95) | Wall Mt Indirect | (2) 54w T-5HO | 5000 ea
AKS | 140BXWWAKS | A | 4009AS1 | Semi-Specular (95) | Surface Ceiling Mt Wall Wash | 40w Biax | 3150
AKS | 150BXWWAKS | A | 4009AS11 | Semi-Specular (95) | Surface Ceiling Mt Wall Wash | 50w Biax | 4300
AKS | 155BXWWAKS | A | 4009AS18 | Semi-Specular (95) | Surface Ceiling Mt Wall Wash | 55w Biax | 4800
AKS | 117T8WWAKS | A | 4009AS19 | Semi-Specular (95) | Surface Ceiling Mt Wall Wash | 17w T-8 | 1400
AKS | 240BXWWAKS | A | 4009AS | Semi-Specular (95) | Surface Ceiling Mt Wall Wash | (2) 40w Biax | 3150 ea
AKS | 250BXWWAKS | A | 4009AS17 | Semi-Specular (95) | Surface Ceiling Mt Wall Wash | (2) 50w Biax | 4300 ea
AKS | 255BXWWAKS | A | 4009AS20 | Semi-Specular (95) | Surface Ceiling Mt Wall Wash | (2) 55w Biax | 4800 ea
AKS | 132T-8WWAKS | A | 4009AS3 | Semi-Specular (95) | Surface Ceiling Mt Wall Wash | 32w T-8 | 2900
AWW | 155BXAWWTB | A | 070911A | Semi-Specular (95) | Ceiling Mt Wall Wash | 55w Biax | 4800
CL/CLC10" | 117T8CL | D | LLI030608A2 | Matt White-HiReflectance | Surface Mt Cove Light | 17w T-8 | 1400
CL/CLC10" | 125T8CL | D | LLI030608A3 | Matt White-HiReflectance | Surface Mt Cove Light | 25w T-8 | 2250
CL/CLC10" | 132T8CL | D | LLI030608A4 | Matt White-HiReflectance | Surface Mt Cove Light | 32w T-8 | 2950
CL/CLC10" | 140BXCL | D | LLI030608A1 | Matt White-HiReflectance | Surface Mt Cove Light | 40w Biax | 3150
CL/CLC10" | 217T8CL | D | 8994A4HR | Matt White-HiReflectance | Surface Mt Cove Light | (2) 17w T-8 | 1400 ea
CL/CLC10" | 225T8CL | D | 8994A3HR | Matt White-HiReflectance | Surface Mt Cove Light | (2) 25w T-8 | 2225 ea
CL/CLC10" | 228T5CL | D | LLI030608A5 | Matt White-HiReflectance | Surface Mt Cove Light | (2) 28w T-5 | 2900
CL/CLC10" | 232T8CL | D | 8994AHR | Matt White-HiReflectance | Surface Mt Cove Light | (2) 32w T-8 | 3050 ea
CL/CLC10" | 240BXCL | D | LLI030608A | Matt White-HiReflectance | Surface Mt Cove Light | (2) 40w Biax | 3150 ea
CL/CLC10" | 240BXCL24 | D | 8994A2HR | Matt White-HiReflectance | Surface Mt Cove Light | (2) 40w Biax | 3150 ea
CL/CLC10" | 440BXCL | D | 8994A1HR | Matt White-HiReflectance | Surface Mt Cove Light | (4) 40w Biax | 3150 ea
CLLP/CLC8" | 114T5CLLP | D | 6971B1HR | Matt White-HiReflectance | Surface Mt Cove Light | 14w T-5 | 1350
CLLP/CLC8" | 128T5CLLP | D | 6971BHR | Matt White-HiReflectance | Surface Mt Cove Light | 28w T-5 | 2900
CLLP/CLC8" | 132T8CLLP | D | 6971B8HR | Matt White-HiReflectance | Surface Mt Cove Light | 32w T-8 | 2950
CLLP/CLC8" | 139T5CLLP | D | 6971B6HR | Matt White-HiReflectance | Surface Mt Cove Light | 39w T-5 HO | 3500
CLLP/CLC8" | 154T5CLLP | D | 6971B2HR | Matt White-HiReflectance | Surface Mt Cove Light | 54w T-5 HO | 5000
CLLP/CLC8" | 155BXCLLP | D | 6971B7HR | Matt White-HiReflectance | Surface Mt Cove Light | 55w Biax | 4800
CLLP/CLC8" | 224T5CLLP | D | 6971B5HR | Matt White-HiReflectance | Surface Mt Cove Light | (2) 24w T-5 HO | 2000 ea
CLLP/CLC8" | 240BXCLLP | D | 6971B4HR | Matt White-HiReflectance | Surface Mt Cove Light | (2) 40w Biax | 3150 ea
CLLP/CLC8" | 254T5CLLP | D | 6971B3HR | Matt White-HiReflectance | Surface Mt Cove Light | (2) 54w T-5 HO | 5000 ea
CLM | 117T8CLM | D | 10969B3HR | Matt White-HiReflectance | Surface Mt Cove Light | 17w T-8 | 1400
CLM | 118BXCLM | D | 10969B6HR | Matt White-HiReflectance | Surface Mt Cove Light | 18w Biax | 1250
CLM | 125T8CLM | D | 10969B2HR | Matt White-HiReflectance | Surface Mt Cove Light | 25w T-8 | 2250
CLM | 132T8CLM | D | 10969B1HR | Matt White-HiReflectance | Surface Mt Cove Light | 32w T-8 | 2900
CLM | 140BXCLM | D | 10969B4HR | Matt White-HiReflectance | Surface Mt Cove Light | 40w Biax | 3150
CLM | 154T5CLM | D | 10969B5HR | Matt White-HiReflectance | Surface Mt Cove Light | 54w T-5 HO | 5000
CLM | 240BXCLM | D | 10969BHR | Matt White-HiReflectance | Surface Mt Cove Light | (2) 40w Biax | 3150 ea
CLM | 255BXCLM | D | 10969B7HR | Matt White-HiReflectance | Surface Mt Cove Light | (2) 55w Biax | 4800 ea
CP/WLS | 113PLCP | B | 9931A1 | Semi-Specular | Outdoor Steplight | 13w PL | 900
CP/WLS | 125T8CP | B | 9931A5 | Semi-Specular | Outdoor Steplight | 25w T-8 | 2150
CP/WLS | 126QDCP | B | 9931A9 | Semi-Specular | Outdoor Steplight | 26w Quad | 1800
CP/WLS | 128T5CP | B | 9931A10 | Semi-Specular | Outdoor Steplight | 28w T-5 | 2900
CP/WLS | 139BXCP | B | 9931A2 | Semi-Specular | Outdoor Steplight | 39w Biax | 2900
CP/WLS | 140BXCP | B | 9931A3 | Semi-Specular | Outdoor Steplight | 40w Biax | 3150
CP/WLS | 142TTCP | B | 9931A7 | Semi-Specular | Outdoor Steplight | 42w Triple Tube | 3200
CP/WLS | 213PLCP | B | 9931A | Semi-Specular | Outdoor Steplight | (2) 13w PL | 900 ea
CP/WLS | 240BXCP | B | 9931A4 | Semi-Specular | Outdoor Steplight | (2) 40w Biax | 3150 ea
CP/WLS | 242TTCP | B | 9931A8 | Semi-Specular | Outdoor Steplight | (2) 42w Triple Tube | 3200 ea
DW | 124T5DW | A | L03123901 | Semi-Specular (97) | Ceiling Mt Display Wash | 24w T-5 HO | 2000
DW | 125T8DW | A | L03123901B | Semi-Specular (97) | Ceiling Mt Display Wash | 25w T-8 | 2250
DW | 132T8DW | A | L03123901C | Semi-Specular (97) | Ceiling Mt. Display Wash | 32w T-8 | 2900
DW | 140BXDW | A | L03123901A | Semi-Specular (97) | Ceiling Mt Display Wash | 40w Biax | 3150
DW | 154T5DW | A | L03123901D | Semi-Specular (97) | Ceiling Mt Display Wash | 54w T-5 HO | 5000
DW | 240BXDW | A | L03123901E | Semi-Specular (97) | Ceiling Mt Display Wash | (2) 40w Biax | 3150 ea
DWS | 240BXDWS | A | L03123901ES | Semi-Specular (97) | Surf. Ceiling Mt Display Wash | (2) 40w Biax | 3150 ea
DWS | 250BXDWS | A | L03123901FS | Semi-Specular (97) | Surf. Ceiling Mt Display Wash | (2) 50w Biax | 4300 ea
DWS | 255BXDWS | A | L03123901GS | Semi-Specular (97) | Surf. Ceiling Mt Display Wash | (2) 55w Biax | 4800 ea
DWS | 132T-8DWS | A | L03123901CS | Semi-Specular (97) | Surf. Ceiling Mt Display Wash | 32w T-8 | 2900
HITC | 132TTHITCS8 | E | 2035D1 | Plaster/Semi-Specular | Ceiling Mt Downlight | 32w Triple Tube | 2400
HITC | 218TTHITCS6 | E | 2035E1 | Plaster/Semi-Specular | Ceiling Mt Downlight | (2)18w Triple Tube | 1250 ea
FLUORESCENT & OTHER LEGACY FIXTURES
Series | IES File / Catalog # | Oriented | Test # | Reflector | Type of Fixture | Lamp | LAMP Lumens
HITC | 218TTHITCS6LSGL | E | L01121601A | Plaster/Semi-Specular | Ceiling Mt Dn Lt w/Wht Lens | (2)18w Triple Tube | 1251 ea
HITC | 226TTHITCS6 | E | 2035E | Plaster/Semi-Specular | Ceiling Mt Downlight | (2)26w Triple Tube | 1800 ea
HITC | 226TTHITCS6LSGL | E | L01121601 | Plaster/Semi-Specular | Ceiling Mt Dn Lt w/Wht Lens | (2)26w Triple Tube | 1800 ea
HITC | 226TTHITCS8LSGL | E | L01121602 | Plaster/Semi-Specular | Ceiling Mt Dn Lt w/Wht Lens | (2)26w Triple Tube | 1800 ea
HITC | 226TTHITCS8 | E | 2035D3 | Plaster/Semi-Specular | Ceiling Mt Downlight | (2)26w Triple Tube | 1800 ea
HITC | 232TTHITCS8 | E | 2035D2 | Plaster/Semi-Specular | Ceiling Mt Downlight | (2)32w Triple Tube | 2400 ea
HITC | 232TTHITCS8LSGL | E | L01121602A | Plaster/Semi-Specular | Ceiling Mt Dn Lt w/Wht Lens | (2)32w Triple Tube | 2400 ea
HITC | 242TTHITCS8 | E | 2035D | Plaster/Semi-Specular | Ceiling Mt Downlight | (2)42w Triple Tube | 3200 ea
HITC | 242TTHITCS8LSGL | E | L01121602B | Plaster/Semi-Specular | Ceiling Mt Dn Lt w/Wht Lens | (2)42w Triple Tube | 3201 ea
HITW | 107PLHITW4x9 | B | 8994C | Plaster/Semi-Specular | Wall Mt Floor Wash | 7w PL | 400
HITW | 113PLHITW6x13 | B | 129316B | Plaster/Semi-Specular | Wall Mt Floor Wash | 13w PL | 900
HITW | 125HALHITW4x6 | B | 110512B | Plaster/Semi-Specular | Wall Mt Floor Wash/FrLens | 25w Halogen G9 | 255
HITW | 125INHITW4x9 | B | 110512E | Plaster/Semi-Specular | Wall Mt Floor Wash/ClrLens | 25w T-8 Inc. | 230
HITW | 140HALHITW4x9 | B | 110512F | Plaster/Semi-Specular | Wall Mt Floor Wash/ClrLens | 40w Halogen G9 | 480
HITW | 113PLHITW6x13IND | C | 129316BI | Plaster/Semi-Specular | Wall Mt Indirect | 13w PL | 900
HITW | 126QDHITW6x13IND | C | 129316BI5 | Plaster/Semi-Specular | Wall Mt Indirect | 26w Quad | 1800
HITW | 126TTHITW18x13IND | C | 110512D | Plaster/Semi-Specular | Wall Mt Indirect | 26w Triple Tube | 1800
HITW | 126TTHITW8x8IND | C | 110512C | Plaster/Semi-Specular | Wall Mt Indirect | 26w Triple Tube | 1800
HITW | 132T8HITW8x54IND | C | 8972A2 | Plaster/Semi-Specular | Wall Mt Indirect | 32w T-8 | 2900
HITW | 132TTHITW6x13IND | C | 129316BI4 | Plaster/Semi-Specular | Wall Mt Indirect | 32w Triple Tube | 2400
HITW | 140BXHITW8x29IND | C | 8972A | Plaster/Semi-Specular | Wall Mt Indirect | 40w Biax | 3150
HITW | 142TTHITW6x13IND | C | 129316BI3 | Plaster/Semi-Specular | Wall Mt Indirect | 42w Triple Tube | 3200
HITW | 170HALHITW6x13IND | C | 129316BI2 | Plaster/Semi-Specular | Wall Mt Indirect | 70w BT-15 | 1120
HITW | 255BXHITW8x54 | C | 8972A1 | Plaster/Semi-Specular | Wall Mt Indirect | (2) 55w Biax | 4800 ea
HITW-EX | 126QDHITWEX6x13 | B | 6003A | Plaster/Semi-Specular | Outdoor Steplight | 26w Quad | 1800
ID | 126QDID1 | E | 1999H | Stepped Diffuse | Clg Mt Indirect 1x1 Dn Lt | 26w Quad | 1800
ID | 132T8ID1 | E | 8982A2 | Stepped Diffuse | Clg Mt Indirect 1x4 Dn Lt | 32w T-8 | 2950
ID | 150BXID1 | E | 8982A1 | Stepped Diffuse | Clg Mt Indirect 1x2 Dn Lt | 50w Biax | 4300
ID | 154T5IDTBDS | E | 7023A | Semi-Specular (95) | Clg Mt 2x4 Downlight | 54w T-5 HO | 5000
ID | 154T5IDTB | E | 8026D | Stepped Diffuse | Clg Mt 2x4 Downlight | 54w T-5 HO | 5000
ID | 155BXID | E | 12958A | Stepped Diffuse | Clg Mt Indirect 2x2 Dn Lt | 55w Biax | 4800
ID | 155BXIDDS | E | 6003B | Semi-Specular (95) | Clg Mt Indirect 2x2 Dn Lt | 55w Biax | 4800
ID | 224T5ID | E | 12958A2 | Stepped Diffuse | Clg Mt Indirect 2x2 Dn Lt | (2) 24w T-5 HO | 2000 ea
ID | 232T8ID | E | 1999J1 | Stepped Diffuse | Clg Mt Indirect 2x4 Dn Lt | (2) 32w T-8 | 2950 ea
ID | 240BXID2 | E | 1999J | Stepped Diffuse | Clg Mt Indirect 2x2 Dn Lt | (2) 40w Biax | 3150 ea
ID | 250BXID1 | E | 8982A | Stepped Diffuse | Clg Mt Indirect 1x4 Dn Lt | (2) 50w Biax | 4300 ea
ID | 254T5ID | E | 12958A3 | Stepped Diffuse | Clg Mt Indirect 2x4 Dn Lt | (2) 54w T-5 HO | 5000 ea
ID | 255BXID | E | 12958A1 | Stepped Diffuse | Clg Mt Indirect 2x4 Dn Lt | (2) 55w Biax | 4800 ea
ID | 440BXID | E | 1999J2 | Stepped Diffuse | Clg Mt Indirect 2x4 Dn Lt | (4) 40w Biax | 3150 ea
IW | 140BXIW | A | 10028A4 | White & Semi-Spec(95) | Clg Mt Indirect Wall Wash | 40w Biax | 3150
IW | 150BXIW | A | 10028A5 | White & Semi-Spec(95) | Clg Mt Indirect Wall Wash | 50w Biax | 4300
IW | 154BXIW | A | 10028A2 | White & Semi-Spec(95) | Clg Mt Indirect Wall Wash | 54w T-5 HO | 5000
IW | 155BXIW | A | 10028A | White & Semi-Spec(95) | Clg Mt Indirect Wall Wash | 55w Biax | 4800
IW | 240BXIW | A | 10028A6 | White & Semi-Spec(95) | Clg Mt Asymmetric Wash | (2) 40w Biax | 3150 ea
IW | 250BXIW | A | 10028A3 | White & Semi-Spec(95) | Clg Mt Asymmetric Wash | (2) 50w Biax | 4300 ea
IW | 255BXIW | A | 10028A1 | White & Semi-Spec(95) | Clg Mt Asymmetric Wash | (2) 55w Biax | 4800 ea
IWS | 140BXIWS | A | 10028AS4 | White & Semi-Spec(95) | Surf Clg Mt Ind Wall Wash | 40w Biax | 3150
IWS | 150BXIWS | A | 10028AS5 | White & Semi-Spec(95) | Surf Clg Mt Ind Wall Wash | 50w Biax | 4300
IWS | 155BXIWS | A | 10028AS | White & Semi-Spec(95) | Surf Clg Mt Ind Wall Wash | 55w Biax | 4800
IWS | 240BXIWS | A | 10028AS6 | White & Semi-Spec(95) | Surf Clg Mt Ind Wall Wash | (2) 40w Biax | 3150 ea
IWS | 250BXIWS | A | 10028AS3 | White & Semi-Spec(95) | Surf Clg Mt Ind Wall Wash | (2) 50w Biax | 4300 ea
IWS | 255BXIWS | A | 10028AS1 | White & Semi-Spec(95) | Surf Clg Mt Ind Wall Wash | (2) 55w Biax | 4800 ea
IWS | 154BXIWS | A | 10028AS2 | White & Semi-Spec(95) | Surf Clg Mt Ind Wall Wash | 54w T-5 HO | 5000
MAXI | 140BXWWM | A | 6971A195 | Semi-Specular (95) | Ceiling Mt Wall Wash | 40w Biax | 3150
MAXI | 224T5WWM | A | 11979A495 | Semi-Specular (95) | Ceiling Mt Wall Wash | (2) 24w T-5 HO | 2000 ea
MAXI | 232T8WWMTB | A | 11979A295 | Semi-Specular (95) | Ceiling Mt Wall Wash | (2) 32w T-8 | 2900 ea
MAXI | 240BXWWM | A | 6971A95 | Semi-Specular (95) | Ceiling Mt Wall Wash | (2) 40w Biax | 3150 ea
MAXI | 240BXWWMTB2 | A | 11979A95 | Semi-Specular (95) | Ceiling Mt Wall Wash | (2) 40w Biax | 3150 ea
MAXI | 254T5WWMTB | A | 11979A595 | Semi-Specular (95) | Ceiling Mt Wall Wash | (2) 54w T-5 HO | 5000 ea
MAXI | 440BXWWM | A | 11979A195 | Semi-Specular (95) | Ceiling Mt Wall Wash | (2) 40w Biax | 3150 ea
FLUORESCENT & OTHER LEGACY FIXTURES
Series | IES File / Catalog # | Oriented | Test # | Reflector | Type of Fixture | Lamp | LAMP Lumens
Mini | 113PLWWMini | A | 129316A195 | Semi-Specular (95) | Ceiling Mt Wall Wash | 13w PL | 900
Mini | 118QDWWMini | A | 129316A95 | Semi-Specular (95) | Ceiling Mt Wall Wash | 18w Quad | 1250
Mini | 118TTWWMini | A | 129316A295 | Semi-Specular (95) | Ceiling Mt Wall Wash | 18w Triple Tube | 1250
Mini | 126TTWWMini | A | 129316A395 | Semi-Specular (95) | Ceiling Mt Wall Wash | 26w Triple Tube | 1800
Mini | 132TTWWMini | A | 129316A495 | Semi-Specular (95) | Ceiling Mt Wall Wash | 32w Triple Tube | 2400
Mini | 142TTWWMini | A | 129316A595 | Semi-Specular (95) | Ceiling Mt Wall Wash | 42w Triple Tube | 3200
MP | 114T5WWMP | A | 6998A495 | Semi-Specular (95) | Ceiling Mt Wall Wash | 14w T-5 | 1350
MP | 121T5WWMP | A | 6998A295 | Semi-Specular (95) | Ceiling Mt Wall Wash | 21w T-5 | 2100
MP | 124T5WWMP | A | 6998A595 | Semi-Specular (95) | Ceiling Mt Wall Wash | 24w T-5 HO | 2000
MP | 128T5WWMP | A | 6998A195 | Semi-Specular (95) | Ceiling Mt Wall Wash | 28w T-5 | 2900
MP | 154T5WWMP | A | 6998A95 | Semi-Specular (95) | Ceiling Mt Wall Wash | 54w T-5 HO | 5000
MP | 224T5WWMP | A | 6998A895 | Semi-Specular (95) | Ceiling Mt Wall Wash | (2) 24w T-5 HO | 2000 ea
MP | 254T5WWMP | A | 6998A795 | Semi-Specular (95) | Ceiling Mt Wall Wash | (2) 54w T-5 HO | 5000 ea
MPS | 114T5WWMPS | A | 6998AS495 | Semi-Specular (95) | Surf Ceiling Mt Wall Wash | 14w T-5 | 1350
MPS | 124T5WWMPS | A | 6998AS595 | Semi-Specular (95) | Surf Ceiling Mt Wall Wash | 24w T-5 HO | 2000
MPS | 128T5WWMPS | A | 6998AS195 | Semi-Specular (95) | Surf Ceiling Mt Wall Wash | 28w T-5 | 2900
MPS | 154T5WWMPS | A | 6998AS95 | Semi-Specular (95) | Surf Ceiling Mt Wall Wash | 54w T-5 HO | 5000
SC | 124T5WWSC | A | 2035B1 | Semi-Specular (95) | Ceiling Mt Wall Wash | 24w T-5 HO | 2000
SC | 154T5WWSC | A | 2035B | Semi-Specular (95) | Surface Mt Wall Wash | 54w T-5 HO | 5000
SC | 217T8DLSC | E | 2035A1 | Wht Paint/Semi-Spec Lvr | Surface Mt Downlight | (2) 17w T-8 | 1400 ea
SC | 254T5DLSC | E | 2035A | Wht Paint/Semi-Spec Lvr | Surface Mt Downlight | (2) 54w T-5 HO | 5000 ea
SITC | 117T8SITC | E | 080510A1 | White Paint/Frosted Lens | Clg Mt 2'x 6"Dnlt | 17w T-8 | 1400
SITC | 132T8SITC | E | 080510A2 | White Paint/Frosted Lens | Clg Mt 4'x 6"Dnlt | 32w T-8 | 2900
SITC | 140BXSITC | E | 080510A | White Paint/Frosted Lens | Clg Mt 2'x 6"Dnlt | 40w Biax | 3150
SITC | 217T8SITC | E | 080510A6 | White Paint/Frosted Lens | Clg Mt 2'x 6"Dnlt | 17w T-8 | 1400
SITC | 232T8SITC | E | 080510A5 | White Paint/Frosted Lens | Clg Mt 4'x 6"Dnlt | 32w T-8 | 2900
SITC | 240BXSITC | E | 080510A3 | White Paint/Frosted Lens | Clg Mt 2'x 6"Dnlt | 17w T-8 | 1400
SITC | 440BXSITC | E | 080510A4 | White Paint/Frosted Lens | Clg Mt 4'x 6"Dnlt | 32w T-8 | 2900
SY | 126QDWWSY | A | 9931B95 | Semi-Specular (95) | Yoke Mt Wall Wash | 26w Quad | 1800
SY | 140BXWWSY | A | 4009B1 | Semi-Specular (95) | Yoke Mt Wall Wash | 40w Biax | 3150
SY | 240BXWWSY | A | 4009B | Semi-Specular (95) | Yoke Mt Wall Wash | (2) 40w Biax | 3150 ea
SY | 440BXWWSY | A | 4009B2 | Semi-Specular (95) | Yoke Mt Wall Wash | (2) 40w Biax | 3150 ea
TH | 175THWW | A | 9931E1 | Semi-Specular | Ceiling Mt Wall Wash | 75w TH MC | 1200
VT | 255BXVT | A | 1015A | Wht Paint/Semi-Spec(95) | Clg Mt Asymmetric Wash | (2) 55w Biax | 4800 ea
VT | 250BXVT | A | 1015A2 | Wht Paint/Semi-Spec(95) | Clg Mt Asymmetric Wash | (2) 55w Biax | 4300 ea
VT | 240BXVT | A | 1015A1 | Wht Paint/Semi-Spec(95) | Clg Mt Asymmetric Wash | (2) 55w Biax | 3150 ea
VTS | 255BXVTS | A | 1015AS | Wht Paint/Semi-Spec(95) | Surf Mt Asymmetric Wash | (2) 55w Biax | 4800 ea
VTS | 250BXVTS | A | 1015AS2 | Wht Paint/Semi-Spec(95) | Surf Mt Asymmetric Wash | (2) 55w Biax | 4300 ea
VTS | 240BXVTS | A | 1015AS1 | Wht Paint/Semi-Spec(95) | Surf Mt Asymmetric Wash | (2) 55w Biax | 3150 ea
These photometrics were run with the fixtures oriented throwing light towards the 0° axis as shown below.
NOTE: Photometrics for the T-Bar & Gypsum ceiling fixutres are the same.
B
A
D
E
C